Microarray Frequently Asked Questions 
Scientists at OMRF's Microarray Research Facility are available to address questions about RNA isolation, cDNA production, labeling, and hybridizations. Many parameters have been tested and optimized for the particular equipment in our facility. We request that you cite our facility in publications if you find these protocols useful.

Frequently Asked Questions

Do you have suggestion for the design of experiment using microarrays?

How Much RNA Is Needed for Microarrays?

Which RNA Isolation Protocol Is Recommended?

Do you have other suggestions for working with RNA?

What equipment is used at the OMRF Microarray Research Facility?

Do you custom print microarrays?

What methods are used to analyze microarray data?

Experimental Design for Microarray Studies

All projects at OMRF's Microarray Research Facility begin by consulting our operations and bioinformatics staff to optimize the design of proposed microarray experiments. Microarrays are extremely sensitive in their ability to distinguish differences in levels of transcripts. Such differences arise from biological variations among subjects, experimental variations between groups, and technical differences in the way samples are prepared. One aim of optimizing the design of experiments is to reduce technical variations in order to distinguish biologically meaningful differences between groups.

RNA molecules transcribed from different genes have considerably different half-lives. For this reason, researchers should process samples in parallel using identical methods. Tissues and cells should be kept under identical conditions for the time during processing. If possible, the same person should prepare all samples for microarrays to be compared. Once all samples for a given experiment are received at our facility, we will analyze the quality of RNA for degradation using capillary gel electrophoresis. Labeling and hybridizations in our facility will then be performed in parallel for each experiment.

Discussions between the investigator and our bioinformatics staff will include the number of biologic replicates needed to optimize statistical evaluation of the data. In general, our methods have sufficient power to discriminate two-fold, statistically significant differences in gene expression using a minimum of 5 biological replicates between groups with limited heterogeneity. This is frequently the case for experiments using cultured cell lines. Additional samples are needed when sample heterogeneity is known or suspected, as is common in human diseases and certain experimental animal models. When possible, users should collect a few additional samples at the time of the experiment in the event that RNA is found to be degraded in a particular sample or to remove technical artifacts that may limit the ability to acquire microarray data from certain samples. For longitudinal time course studies, the number of replicates needed depend on the number of time points being analyzed. For all of these reasons, it is necessary for individuals who are considering running microarrays in our facility to discuss technical and statistical aspects of the design of their experiments BEFORE the experiment is performed.

Return to list of Frequently Asked Questions

Amount of RNA Needed for Microarray Experiments

OMRF's Microarray Research Facility currently supports two microarray formats for gene expression studies, namely Affymetrix's short oligonucleotide microarrays and Illumina's long oligonucleotide microarrays. Signal intensities vary with amounts of RNA, and the ability to detect low abundance transcripts diminishes as less RNA is used. Suggested amounts of total RNA for each platform are listed below. Separate tubes of RNA are requested to reduce the chance of RNA degradation during multiple pipetings and/or freeze-thaw cycles.

Affymetrix Microarrays

Although Affymetrix states their microarrays are capable of using as little as 1 µg of RNA, we suggest users supply 5 µg for labeling and hybridization.

Please prepare a stock tube containing 10.0 µl of total RNA at a concentration of 0.625 µg/µl (6.25 µg total). All dilutions should be made in DEPC-treated water.

Split this RNA into three 1.5 ml microfuge tubes as follows:

Tube 1: Pipet 8.5 µl from the stock tube into tube 1 (5.31 µg). 5 µg in 8.0 µl will be used for labeling. The remainder is required to assure a sufficient quantity for pipeting.

Tubes 2 & 3: Add 4.36 µl DEPC-treated water to the remaining RNA in the stock tube. Mix well and pipet 2.5 µl of this into tubes 2 and 3 (0.4 µg per tube). These tubes will be used for quality control purposes to determine concentration by spectrophotometry and RNA quality by capillary gel electrophoresis (Agilent 2100 Bioanalyzer).

Illumina Microarrays

Please prepare a stock tube containing 10.0 µl of total RNA at a concentration of 0.1 µg/µl (1.0 µg total). All dilutions should be made in DEPC-treated water.

Split this RNA into three 1.5 ml microfuge tubes as follows:

Tube 1: Pipet 5.0 µl from the stock tube into tube 1 (0.5 µg). This will be used for labeling and to assure a sufficient quantity is available for pipeting.

Tubes 2 & 3: Pipet 2.5 µl per tube into tubes 2 and 3 (0.25 µg per tube). These tubes will be used for quality control purposes to determine concentration by spectrophotometry and RNA quality by capillary gel electrophoresis (Agilent 2100 Bioanalyzer).

Sample Delivery

Please aliquot samples into three labeled tubes as described above. Transfer samples to cardboard or plastic freezer box(es) with your name and date on the side and freeze samples at -80oC. Transport the freezer box(es) to OMRF's Microarray Research Facility on dry ice.

Additional Considerations

Users should consider aliquoting multiple tubes of the RNA for future studies. These may be used for re-running a particular microarray if needed, or for verifying microarray results with another method. Our current quantitative PCR protocol requires 2.0 µg of total RNA to test in triplicate 40-80 experimental genes. When sufficient RNA is available, users may wish to consider aliquoting enough RNA to confirm expression differences of 20-50 genes.

Return to list of Frequently Asked Questions

RNA ISOLATION OF TOTAL RNA USING TRIzol®

Numerous methods are available for the isolation of total RNA from tissues and cells. The method giving the highest yield and purity of intact RNA must ultimately be empirically determined. We have found the following protocol to be ideal for most samples. Some tissues may contain sufficiently high amounts of RNAses to produce noticeable RNA degradation. Specialized handling of tissue before RNA extraction and alternative protocols for RNA isolation may need to be considered. Samples received by the OMRF Microarray Research Facility will be analyzed for RNA integrity using an Agilent 2100 Bioanalyzer capillary gel electrophoresis system before labeling.

Removal of residual phenol in RNA samples is critical to obtain sufficient yields of cRNA for hybridization. We recommend using Qiagen's RNeasy Mini Kit after the ethanol precipitation step in the TRIzol® extraction procedure. However, the expected low RNA concentration may require ethanol precipitation. An alternative to the TRIzol® RNA isolation procedure is to use the Qiagen RNeasy Mini kit alone. We have also used Qiagen's RNeasy MiniElute Cleanup columns to remove residual TRIzol®. However, a loss of approximately 50% of the RNA is not unusual.

TRIzol® ® Reagent

Life Technologies Cat. No. 15596-026 Size: 100 ml; store at 2 to 8°C.

Reagents required, but not supplied: chloroform, isopropyl alcohol, 75% Ethanol (in DEPC-treated water), RNase-free water

Description:

TRIzol® Reagent is a ready-to-use reagent for the isolation of total RNA from cells and tissues. The reagent, a monophasic solution of phenol and guanidine isothiocyanate, is an improvement to the single-step RNA isolation method developed by Chomczynski and Sacchi. During sample homogenization or lysis, TRIzol® Reagent maintains the integrity of the RNA while disrupting cells and dissolving cell components. Addition of chloroform followed by centrifugation separates the solution into an aqueous phase and an organic phase. RNA remains in the aqueous phase. After transfer of the aqueous phase, the RNA is recovered by precipitation with isopropyl alcohol.

This technique performs well with small quantities of tissue (50-100 mg) and cells (5 × 106), and large quantities of tissue (≥1 g) and cells (>107) from human, animal, plant, or bacterial origin. The simplicity of the TRIzol® Reagent method allows simultaneous processing of a large number of samples. The entire procedure can be completed in one hour. Total RNA isolated by TRIzol® Reagent is free of protein and DNA contamination. It can be used for Northern blot analysis, dot blo t hybridization, poly (A)+ selection, in vitro translation, RNase protection assay, and molecular cloning. For use in the polymerase chain reaction (PCR), treatment of the isolated RNA with amplification grade DNase I (Cat. No. 18068) is recommended when the two primers lie within a single exon.

TRIzol® Reagent facilitates isolation of a variety of RNA species of large or small molecular size. For example, RNA isolated from rat liver, electrophoresed on an agarose gel, and stained with ethidium bromide, shows discrete bands of high molecular weight RNA between 7 kb and 15 kb in size, (composed of mRNA and hnRNA) two predominant ribosomal RNA bands at ~5 kb (28S) and at ~2 kb (18S), and low molecular weight RNA between 0.1 and 0.3 kb (tRNA, 5S). The isolated RNA has an A260/A280 ratio ≥1.8 when diluted into TE.

Precautions for Preventing RNase Contamination:

RNases can be introduced accidentally into the RNA preparation at any point in the isolation procedure through improper technique. Because RNase activity is difficult to inhibit, it is essential to prevent its introduction. The following guidelines should be observed when working with RNA.

• Always wear disposable gloves. Skin often contains bacteria and molds that can contaminate an RNA preparation and be a source of RNases. Practice good microbiological technique to prevent microbial contamination.

• Use sterile, disposable plasticware and automatic pipette s reserved for RNA work to prevent cross-contamination with RNases from shared equipment. For example, a laboratory that is using RNA probes will likely be using RNase A or T1 to reduce background on filters, and any nondisposable items (such as automatic pipettes) can be rich sources of RNases.

• In the presence of TRIzol® Reagent, RNA is protected from RNase contamination. Downstream sample handling requires that nondisposable glassware or plasticware be RNase-free. Glass items can be baked at 150°C for 4 hours, and plastic items can be soaked for 10 minutes in 0.5 M NaOH, rinsed thoroughly with water, and autoclaved.

Other Precautions:

• Use of disposable tubes made of clear polypropylene is recommended when working with less than 2-ml volumes of TRIzol® Reagent.

• For larger volumes, use glass (Corex) or polypropylene tubes, and test to be sure that the tubes can withstand 12,000 × g with TRIzol® Reagent and chloroform. Do not use tubes that leak or crack.

• Carefully equilibrate the weights of the tubes prior to centrifugation.

• Glass tubes must be sealed with Parafilm® topped with a layer of foil, and polypropylene tubes must be capped before centrifugation.

INSTRUCTIONS FOR RNA ISOLATION:

Caution: When working with TRIzol® Reagent use gloves and eye protection (shield, safety goggles). Avoid contact with skin or clothing. Use in a chemical fume hood. Avoid breathing vapor. Unle ss otherwise stated, the procedure is carried out at 15 to 30°C, and reagents are at 15 to 30°C.

1. HOMOGENIZATION (see notes 1-3)

Tissues: Homogenize tissue samples in 1 ml of TRIzol® Reagent per 50-100 mg of tissue using a glass-Teflon® or power homogenizer (Polytron, or Tekmar's TISSUMIZER® or equivalent). The sample volume should not exceed 10% of the volume of TRIzol® Reagent used for homogenization.

Cells Grown in Monolayer: Lyse the cells directly in a culture dish by adding 1 ml of TRIzol®  Reagent to a 3.5 cm diameter dish, and passing the cell lysate several times through a pipette. The amount of TRIzol® Reagent added is based on the area of the culture dish (1 ml per 10 cm2) and not on the number of cells present. An insufficient amount of TRIzol® Reagent may result in contamination of the isolated RNA with DNA.

Cells Grown in Suspension: Pellet the cells by centrifugation. Lyse cells in TRIzol® Reagent by repetitive pipetting. Use 1 ml of the reagent per 5-10 × 106 of animal, plant or yeast cells, or per 1 × 107 bacterial cells. Washing cells before addition of TRIzol® Reagent should be avoided as this increases the possibility of mRNA degradation. Disruption of some yeast and bacterial cells may require the use of a homogenizer.

OPTIONAL: An additional isolation step may be required for samples with high content of proteins, fat, polysaccharides or extracellular material such as muscles, fat tissue, and tuberous parts of plants. Following homogenization, remove insoluble material from the homogenate by centrifugation at 12,000 × g for 10 minutes at 2 to 8°C. The resulting pellet contains extracellular membranes, polysaccharides, and high molecular weight DNA, while the supernatant contains RNA. In samples from fat tissue, an excess of fat collects as a top layer which should be removed. In each case, transfer the cleared homogenate solution to a fresh tube and proceed with chloroform addition and phase separation as described.

2. PHASE SEPARATION

Incubate the homogenized samples for 5 minutes at 15 to 30°C to permit the complete dissociation of nucleoprotein complexes. Add 0.2 ml of chloroform per 1 ml of TRIzol® Reagent. Cap sample tubes securely. Shake tubes vigorously by hand for 15 seconds and incubate them at 15 to 30°C for 2 to 3 minutes. Centrifuge the samples at no more than 12,000 × g for 15 minutes at 2 to 8°C. Following centrifugation, the mixture separates into a lower red, phenol-chloroform phase, an interphase, and a colorless upper aqueous phase. RNA remains exclusively in the aqueous phase. The volume of the aqueous phase is about 60% of the volume of TRIzol® Reagent used for homogenization.

3. RNA PRECIPITATION

Transfer the aqueous phase to a fresh tube, being careful not to transfer any of the interphase material. Precipitate the RNA from the aqueous phase by mixing with isopropyl alcohol. Use 0.5 ml of isopropyl alcohol per 1 ml of TRIzol® Reagent used for the initial homogenization. Incubate samples at 15 to 30°C for 10 minutes and centrifuge at no more than 12,000 × g for 10 minutes at 2 to 8°C. The RNA precipitate, often invisible before centrifugation, forms a gel-like pellet on the side and bottom of the tube.

4. RNA WASH

Remove the supernatant. Wash the RNA pellet once with 75% ethanol, adding at least 1 ml of 75% ethanol per 1 ml of TRIzol® Reagent used for the initial homogenization. Mix the sample by vortexing and centrifuge at no more than 7,500 × g for 5 minutes at 2 to 8°C.

5. REDISSOLVING THE RNA

At the end of the procedure, briefly dry the RNA pellet (air-dry until pellet turns from white to clear). Do not dry the RNA by centrifugation under vacuum. It is important not to let the RNA pellet dry completely as this will greatly decrease its solubility. Partially dissolved RNA samples have an A260/280 ratio < 1.6. Dissolve RNA in RNase-free water by passing the solution a few times through a pipette tip, and incubating for 10 minutes at 55 to 60°C.

ADDITIONAL NOTES:

1.  Isolation of RNA from small quantities of tissue (1 to 10 mg) or cell (102 to 104): Add 800 µl of TRIzol® to the tissue or cells. Following sample lysis, add chloroform and proceed with the phase separation as described in step 2. Prior to precipitating the RNA with isopropyl alcohol, add 5-10 µg RNase-free glycogen (Cat. No 10814) as carrier to the aqueous phase. To reduce viscosity, shear the genomic DNA with 2 passes through a 26 gauge needle prior to chloroform addition. The glycogen remains in the aqueous phase and is co-precipitated with the RNA. It does not inhibit first-strand synthesis at concentrations up to 4 mg/ml and does not inhibit PCR.

2.  After homogenization and before addition of chloroform, samples can be stored at -60 to -70°C for at least one month. The RNA precipitate (step 4, RNA WASH) can be stored in 75% ethanol at 2 to 8°C for at least one week, or at least one year at –5 to -20°C.

3.  Table-top centrifuges that can attain a maximum of 2,600 × g are suitable for use in these protocols if the centrifugation time is increased to 30-60 minutes in steps 2 and 3.

4.  Once the RNA is in TRIzol®, it is protected from the RNases from the c ells. It is imperative for good RNA quality to get efficient & rapid lysis of the cells in TRIzol®. Disrupt cell pellets prior to lysis with TRIzol® and avoid letting frozen samples thaw prior to the addition of TRIzol®.

Return to list of Frequently Asked Questions

SUGGESTIONS FOR WORKING WITH RNA

DETERMING RNA QUALITY

The OMRF Microarray Research Facility checks the quality of all RNA samples prior to labeling using an Agilent 2100 Bioanalyzer. Only high quality RNA will be included in microarray studies. The ratio of the areas under the curve for the 28s:18s rRNA is one measure of RNA integrity. Ratios approaching 2.0 are obtained from samples with little degradation. Samples with ratios above 1.0 are acceptable for microarray studies. It is desirable to have similar ratios for all samples in a particular study.

TISSUE PREPARATION

It is essential to reduce RNAase activity in order to optimize the quality of RNA to be used in microarray experiments. Partially degraded RNA produces high signal intensities but is unlikely to reflect gene expression patterns in cells. RT-PCR reactions generally amplify small portions of RNA, and relatively few starting molecules can be amplified over many cycles. Microarrays typically contain one or a few probes for a transcript based primarily on sequence specificity. Because these regions may occur anywhere within the transcript, RNA used for microarrays requires much higher integrity than PCR-based methods. We suggest that you homogenize tissues or cells immediately after harvesting in chaotropic-based lytic solutions. If this is not possible, quickly slicing tissue into thin sections followed immediately by immersion in liquid nitrogen is recommended. Phenol-based RNA extractions are particularly important for tissues high in RNAses such as liver and pancreas. Phenol is also useful for RNA extraction from tissues high in fat.

RNASE CONCERNS

Please see the following link to Ambion’s web site that describes precautions to reduce exogenouse RNAses into samples.

RNA MANIPULATIONS

It may be necessary to concentrate RNA prior to labeling. We recommend the addition of co-precipitates such as DNAse-treated glycogen or linear acrylamide to enhance recovery.

It is important not to let RNA dry completely as this decreases its solubility. We suggest not drying the RNA by centrifugation under vacuum. Partially dissolved RNA samples have an A260/280 ratio < 1.6.

RNA should be resuspended in DEPC-treated water by heating for 10 minutes at 55 to 60°C (as described in the TRIzol® protocol) with periodic vortexing. Some protocols suggest adding a chelating agent to reduce divalent cation mediated RNA degradation. If you pipette the sample before the RNA is dissolved, it may adhere to the pipette tip and the RNA may be lost. If the RNA is not dissolved completely when the OD260 is taken, the concentration will be inaccurate, as will subsequent dilutions. Therefore, for RNA already resuspended at concentrations above ~500 ng/ml, we recommend a brief heating step to assure RNA is in solution.

RNA STORAGE

We recommend storing RNA stocks at -80C. These may be kept in water for short periods of time. We highly recommended that you aliquot RNA into multiple tubes according to the design of your experiment to reduce degradation from multiple freeze-thaw cycles and introduction of exogenous RNAses.

Return to list of Frequently Asked Questions

EQUIPMENT AT THE OMRF MICROARRAY RESEARCH FACILITY

RNA Quality Assessment

An Agilent 2100 Bioanalyzer Capillary Gel Electrophoresis System is used to evaluate quality of RNA. Information on this equipment may be found at Agilent's web site under “LifeSciences/Chemicals Lab-on-a-Chip”.

Nanodrop ND-1000 Spectrophotometer

RNA concentrations are determined on a scanning UV/VIS spectrophotometer. Refer to Nanodrop web site for details.

Affymetrix Microarray Platform

Equipment for Affymetrix arrays includes a GeneChip® 450 fluidics station, a GeneChip® 3000 7G scanner, an Affymetrix workstation, and a model 640 hybridization oven

Illumina Microarray Platform

Equipment for Illumina microarrays includes BeadChip hybridization chambers, a hybridization oven, a heat block with water bath insert, and an iSCAN scanner with robotic server arm.

Microarray Printer

In-house manufacturing of microarrays is performed using a Digilab (previously Genomic Solutions, previously GeneMachine) OmniGrid® 100 Microarrayer. This instrument is equipped with a server arm for automated handling of 384 plates containing our gene libraries, and with a Telechem International print head and MP2.5 printing pins. Descriptions of the arrayer and printing pins are available on the web.

Hybridization System

In-house and commercially compatible microarrays are hybridized using a Ventana Discovery Automated Hybridization System. Additional information is available through Ventana Medical Systems.

Microarray Scanner

In-house and commercially compatible microarrays are scanned using an Agilent DNA Microarray Scanner Model G2505B. Details are available at Agilent Technologies web site.

Return to list of Frequently Asked Questions

CUSTOM PRINTING OF MICROARRAYS

Although we still have equipment to print custom microarrays, the OMRF Microarray Research Facility switched to commercial microarray platforms a number of years ago due to increased quality control of these products. We no longer maintain hybridization and washing equipment for custom microarrays. The following guidelines for preparation of DNA and oligonucleotide libraries are offered from our past experience.

PRODUCTION OF CUSTOM LIBRARIES FOR MICROARRAY PRINTING

For double-stranded DNA:

- Isolate appropriate regions of DNA. Assuming the sequence of DNA is known, eliminate regions that may cross-hybridize with other genes.

- Bring sample to a minimum of 50 ng/ml DNA in 15 ul 3xSSC. Higher concentrations are highly recommended (100-200 ng/ml).

- Transfer all 15 ° l of the sample to Genetix 384-well plates (we will provide these), noting plate and well positions of each gene.

- Dry plates overnight in cell culture hood (fan on, UV off).

- Seal plates and deliver gene library.

- Purchase and deliver Corning UltraGAPS 100 slides. (25 per pack, maximum of 100 slides may be printed at one time).

- Provide location of each gene by plate and well number. This may in an Excel file with one line for each gene. You may annotate the genes anyway that helps you or others interpret the results. For example, you may include Genbank accession number, region of gene (from nucleotide x to y), comments, etc.

For Oligonucleotides:

- Synthesize oligonucleotides that contain a region(s) of the gene that is specific for that gene. Our commercial libraries contain oligonucleotides that are 70 nt in length. These probes are biased towards the 3' end of each gene. Tm are 78°C ± 5°C. Each oligonucleotide has a primary amino group at the end of a six carbon spacer attahced to the 5' end of the oligonucleotides for binding to glass surfaces with different chemistries. Contact Qiagen for further details.

- Resuspend the oligonucleotide at high concentration in water or in 3xSSC.

- Determine the concentration of the oligonucleotide using a spectrophotometer.

- Dilute an aliquot of the oligonucleotide to concentration of 40 mM in 3xSSC.

- Transfer 15 °µl of the sample to Genetix 384-well plates (we will provide these), noting plate and well positions of each gene.

- Dry plates overnight in cell culture hood (fan on, UV off).

- Seal plates and deliver the oligonucleotide library for printing.

Additional Considerations

- If there are a limited number of oligonucleotides, they may be added directly to our existing libraries for printing as a component of that library.

- Larger collections of oligonucleotides will be maintained in separate plates for separate printing or printing in conjunction with existing libraries.

- It is quite helpful to add various controls to libraries. Suggestions include negative controls (3xSSC printing buffer only, oligonucleotides that are not known to be present in a particular genome, vectors used in the production/isolation of gene segments), and positive controls (housekeeping genes, plant genes to which RNA is available and is spiked into the RNA to be labeled).

Return to list of Frequently Asked Questions

BIOINFORMATICS

The OMRF Microarray Research Facility's Bioinformatics Section designs novel analytical tools for use in microarray studies and assists microarray users in analyzing and understanding microarray data obtained from experiments performed at the Facility. It is run by Nicholas Knowlton. Selected bioinformatics topics for microarrays are presented below. These include methods used and developed by our bioinformaticians and links to publicly available resources for microarray analyses.

POWER ANALYSIS FOR MICROARRAYS

Estimation of the number of microarray experiments required to obtain reliable results from a comparison of data from patients and controls was determined using a power analysis using the commercial program Statistica from StatSoft Results are shown.  The left portion of graph demonstrates the dependence of the power of analysis on the number of replicates for a paired T-test with a statistical threshold of  =0.05. On the right portion of the graph, power analysis results from an associative analysis are estimated. An associative analysis with threshold of  =0.0001 has power comparable with a paired T-test using a threshold of  =0.05. Results of this analysis will be used for estimating the number of replicate experiments required for selection of differentially expressed genes. For example two-fold difference can be observed with power 1- = 0.8 with a 6-replicate experiment.

IDENTIFYING DIFFERENTIALLY EXPRESSED GENES

Initial signal intensity values obtained from the iSCAN scanner are quantile normalized and log transformed using MatLab software (Mathworks, Inc., Natick, MA) prior to importing into BRB ArrayTools (National Cancer Institute, Biometric Research Branch, Rockville MD). Genes are filtered using the Log Expression Variation Filter to screen out genes that are not likely to be informative based on the variance of each gene across the arrays. Typically, such filtering excludes the 50th percentile of the genes with the smallest variances. Biological replicates are designated in the software according to pre-defined classes (diseases, treatments, controls, etc), and the software then performs Class Comparisons to identify statistically significantly differentially expressed genes. Such comparisons begin using two-sample T-tests with a random variance model but may involve other models such as ANOVA. Thresholds are initially set to allow a maximum of 10% false-positive genes with a minimum confidence level of this false discovery rate at 80%. Data are exported to Microsoft Excel where averages of the classes were used to calculate fold change ratios. Genes are then filtered to kimit those with a certain level of fold-change between groups under analysis. These genes are then subjected to further analyses including discriminant function analyses to identify subsets of genes that maximize class distinctions, data modeling for the identification of biochemical, functional and interacting gene products, upstream promoter analysis, and hierarchical clustering (Spotfire Decision Site, Functional Genomics, Palo Alto, CA).

MODELING GENE INTERACTIONS

It is not unusual to identify hundreds of statistically significant differentially expressed genes in a given microarray project. The complexity of these genes can be overwhelming to investigators attempting to correlate gene expression patterns with a particular phenotype under study. The OMRF Microarray Research Facility uses various software packages to search for possible interactions between gene products and identify potential functional relationships.

Gene Ontology software is used for additional annotation of selected genes according to their cellular component, molecular function, and biological process. Ingenuity Pathways Analysis (Ingenuity® Systems Inc., Redwood, CA) is used to identify subsets of genes with interacting products at the biochemical and functional levels. The software develops networks of such interactions that may help users understand complex systems and molecular mechanisms that are associated with the phenotype under study. The software is fully annotated with data summaries and links to scientific literature that explain the nature of each identified interaction.

PAINT, or Promoter Analysis and Interaction Network Toolset (Daniel Baugh Institute Web, Philadelphia, PA) is used to search for upstream promoter sequences in differentially expressed human, mouse and rat genes, identify potential transcription factor binding sites, and help users determine if groups of genes are differentially expressed or co-regulated due to activity of transcriptional regulatory elements that bind upstream of the genes.

LINKS TO PUBLISHED MICROARRAY ANALYSES

The OMRF required us to remove links to data or results from a number of published microarray experiments. Please contact the authors of these papers for access to such information.

Return to list of Frequently Asked Questions

Send comments and questions to  Dr. Bart Frank, Arthritis and Clinical Immunology Program, OMRF